## Slide 1
Sub panel
Dynamic load device controller(UI) to the sub panel
（define by the setTargetPanel.vi）
Sub panel
Sub panel
Microscope Controller
QuickNote Controller
Displayer Controller
QPD Controller
StepMotor Controller
Stage Controller
All device can run independently by
loading the device as a root actor.
Or, work simultaneously when integrated into the microscope
As a subpanel
In this architecture, devices are building blocks that can be loaded
Into the microscope(dock)

## Slide 2
Overview
M-VC(Model ViewController) architecture
Slightly different with the common MVC architecture, here we combine the View and the Controller as a controller that controls
The hardware and display the data.
Model
ControllerView
Send request
manipulate
Update data
controls hardware
Read data from hardware
Update controller
Displays data,
finishes Pipeline duty
Responses to UI input
Controls model
Hardwares
commands
data
Microscope
Logic layer
Control
response
View
Controller
Read Voltage/current/resistance…
Set Voltage/current/gain….
Read Voltage/current/resistance…
From various meters
Set Voltage/current/gain….

## Slide 3
Overview
Microscope
Logic layer
Start/stop acquisition
Default Camera
Prime95B
Commands:
Set exposure
gain….
New frame
New frame
pipeline
Stage controller
New frame
First controller in the pipeline
Model
Nano Stage
Commands :
Set/get stage position
Acq loop
Read position
current position
current position
Commands :
Set/get stage position
Pipeline duty: tag current to new frame
Display the updated position
Displayer
Pipeline duty: tag current to new frame
Display the image
…
Logger
Pipeline duty
Save image/stage position
Laser status….
Image Pipeline

## Slide 4
Data generator and listener
Data generator
Acq loop
Notify controller
[data]
Model
OnDataChange
Controller
Add/remove listener
Generate data
Broadcast
Start/Stop sequence acquisition
Listener
OnDataChange(ExchangedData)

## Slide 5
Start：Launcher.vi
Load App.vi
Show splash screen while loading the devices in the background
Launch the main actor(MicroscopeController) using the Launch Root Actor.vi
LoadModel.vi
Microscope Controller
1,This VI will call automatically once the Actor was load because it overrides the same function
Defined in the GenericController Actor[ see detail in the GenericController Actor session]
2, LoadModel.Vi Loads the Model using the Launch Nest Actor.Vi to Load the Microscope_RM21
DetectHardware.vi
1,Function will be called right after LoadModel.vi
2,DetectHardware.vi add all the detected devices (Controllers) to a Device List
LoadAllHardware.vi
1,Load all the added devices in the Device List using Launch Nest Actor.vi
2, when devices are loaded in the background , they will report their status using ReportDeviceStatus.vi (Device.lvclass) , when all device report a ‘Done!’ message, The OnDataChange.vi will handle this msg and send ‘Done!’ to The splash screen to close it also, it will send a ‘ShowUI’ msg to the Microscope Controller to show it
3,the Microscope_RM21 loads all the device controllers and data processors. The device controllers will then launch its model
as a nest actor.
4, the Models will automatically run initialize.vi and configure.vi to initialize and configure the hardware, once the device are ready,
‘Done!’ messages will be fired to close the splash screen and show the main UI.
Main

## Slide 6
Interfaces
The microscope actor is a dockstation for all devise and data processors
Handler of the data listener, data is transfer via a “dataexchange” pack .
Value is a variant to be converted
to the LabVIEW data type on the arrival

## Slide 7
Devices
1,Devices are defined as a component of the microscope, e.g., Stage, Camera, Laser
2,All the devices have same ancestor defined as Device.lvclass
3, The Microscope Actor itself is a Device!
4, General-purpose functions are predefined as follows.
Overrride functions from Actor, these functions will call automatically
Called when an actor is stop. The shutdown.vi is called inside this actor
the Initialize.vi and Configure.vi are called
Report device loading status to its controller
Data generator of the device, e.g., read current position/voltage. Call in the Acqloop.vi
The acquisition loop, generate Data, wait(1/sampling time ms),send itself a trigger to Get next data point.
Broadcast the current data to all the listener in the listener List
Hardware abstract Layer
Inherited
Close and release the hardware
Instead of broadcast the current data, only the controller is notified in the acq loop!

## Slide 8
Controller:
GenericController
Overrride functions from Actor, these functions will call automatically
Called when an actor is stop. The shutdown.vi is called inside this actor
Get the handle to the model.
Called before the actor is launched. The ReadConfig.vi ， Initialize.vi and Configure.vi are called inside this actor
Called when the nest actor post error, send normal stop message to shut itself down
Get the handle to the next pipeline controller.
Which subpanel to insert into [in the dock(microscope)]
Load a demo device or the real device(debug or demo)
Call from the OndataChange.vi
Should we response to the OndataChange?
Call from OndataChange.vi when new data arrives to update UI
Handler of the data listener, data is transfer via a “dataexchange” pack .
Read Configuration from file
Load the model(called from the actor core in each controller)
Configuration ,set the loadDemoModel True to load demo device!
Post the VI refnum to the dockstation (if loaded as a nest actor), if it isload as a root actor,
meaning run Independently, this vi will raises error and show the UI
(initially closed in the actor core.vi in each controller so it can be insert to the Subpanel)

## Slide 9
Controller:
Controller template
Initialize UI
Event loop, responses to the
UI input and call the
Model or the controller itself
By enqueue message/data
To the self enqueuer or the
Model enqueuer
Create user events
Post VI refnum to caller
Load model

## Slide 10
Microscope
1,Microscope is a special device that inherit from DockDevice [ be able to inserDevicePanel], StageControler[be able to move the stage by call the default stage’s function ] and DataListener[be able to receive data] Interface.
Insert Device controller to the sub panel by calling the InserPanelTOmainframe.vi in the microscope controller.lvclass
Call Detect DataProcessor/Hardware.VI and loadAllHardware.VI
Show system status in the start up,
Load device and save the enqueuer to the Device enqueuer list
Update the system status at the bottom right
Set up the tail to head chain in the pipeline. Thus, each controller can call the next controller

## Slide 11
Lifetime of a device
Start Acq?
Generate Data
Notify controller
Acq Loop
While status == busy
Shut down?
Shut down
Start
End
Controller
ReadConfig -> Initialize -> Configure ->postVIRefnum-> LoadModel[Device] -------[Pipeline duty ondatachange]
Microscope Controller
ReadConfig -> Initialize -> Configure -> LoadModel [microscope]
Microscope
Detect processors/devices -> load device controller[Controllers] -> add device list->add device enqueuer list…..
Model(Devices)
Initialize -> Configure -> post ‘Done!’ message and ready!